## Sheet1
Business Unit | Cluster | Plant | Line | Plant SAP Code | Section | Equipment Group | Equipment Subtype | Variable Group | Variable Type | Standard Variable Description | Unit Of Measurement | Tag Name | Tag UID | Min | Max | LCL | UCL | Flat Line Length | OPC EndPOint | Path
CEMENT | W | NMGD | 1 | MG01 | Cement Mill-1 | Mill | Counter | PV | Flow | Feed Rate | TPH | AI_G52_4_FT_TX | W-NMGD1-CM1-F-PV-AI_G52_4_FT_TX | 1100 | 1500 | TBD | TBD | 60 | opc.tcp://10.5.39.44:57888 | ns=3;s=SchneiderElectric.SCADA.OpcDaServer.1->testproject.AI_G52_4_FT_TX_AINPUT_PV
CEMENT | W | NMGD | 1 | MG01 | Cement Mill-1 | Mill | Counter | PV | Flow | Feed Rate | TPH | CMH_K31FM1 | W-NMGD1-CM1-ST-SV-CMH_K31FM1 |  |  | TBD | TBD | 60 | opc.tcp://10.5.39.43:48031 | ns=3;s=0:Cluster_1.CMH_K31FM1_Stx\Stat.Valid
CEMENT | W | NMGD | 1 | MG01 | Cement Mill-1 | Mill | Counter | PV | Weight | total Production | Tons | G35D_TOT_CML | W-NMGD1-CM1-WE-COP-G35D_TOT_CML |  |  | TBD | TBD | 60 | opc.tcp://10.5.39.44:57888 | ns=3;s=SchneiderElectric.SCADA.OpcDaServer.1->testproject.G35D_TOT_CML
CEMENT | W | NMGD | 1 | MG01 | Cement Mill-1 | Mill | Counter | PV | Speed | Motor Speed | RPM | CM_531WF4_SA | W-NMGD1-CM1-I-PV-CM_531WF4_SA | 0 | 2500 | TBD | TBD | 60 | opc.tcp://10.5.39.43:48031 | ns=3;s=0:Cluster_1.CM_531WF4_SA_Stx\APV.Field
CEMENT | W | NMGD | 1 | MG01 | Cement Mill-1 | Mill | Counter | PV | Weight | total Production | Tons | G35D_TOT_PD | W-NMGD1-CM1-WE-COP-G35D_TOT_PD |  |  | TBD | TBD | 60 | opc.tcp://10.5.39.44:57888 | ns=3;s=SchneiderElectric.SCADA.OpcDaServer.1->testproject.G35D_TOT_PD
CEMENT | W | NMGD | 1 | MG01 | Cement Mill-1 | Mill | Counter | PV | Weight | total Production | Tons | G47_TOT_TD | W-NMGD1-CM1-WE-COP-G47_TOT_TD |  |  | TBD | TBD | 60 | opc.tcp://10.5.39.44:57888 | ns=3;s=SchneiderElectric.SCADA.OpcDaServer.1->testproject.G47_TOT_TD
CEMENT | W | NMGD | 1 | MG01 | Cement Mill-1 | Mill | Counter | PV | Weight | total Production | Tons | TOTAL_CML_COUNTER | W-NMGD1-CM1-WE-COP-TOTAL_CML_COUNTER |  |  | TBD | TBD | 60 | opc.tcp://10.5.39.44:57888 | ns=3;s=SchneiderElectric.SCADA.OpcDaServer.1->testproject.TOTAL_CML_COUNTER
CEMENT | W | NMGD | 1 | MG01 | Cement Mill-1 | Mill | Counter | PV | Weight | total Production | Tons | G47_TOT_CML | W-NMGD1-CM1-WE-COP-G47_TOT_CML |  |  | TBD | TBD | 60 | opc.tcp://10.5.39.44:57888 | ns=3;s=SchneiderElectric.SCADA.OpcDaServer.1->testproject.G47_TOT_CML
CEMENT | W | NMGD | 1 | MG01 | Cement Mill-1 | Mill | Counter | PV | Weight | total Production | Tons | G35D_TOT_TD | W-NMGD1-CM1-WE-COP-G35D_TOT_TD |  |  | TBD | TBD | 60 | opc.tcp://10.5.39.44:57888 | ns=3;s=SchneiderElectric.SCADA.OpcDaServer.1->testproject.G35D_TOT_TD
CEMENT | W | NMGD | 1 | MG01 | Cement Mill-1 | Mill | Counter | PV | Weight | total Production | Tons | G35D_TOT_MTD | W-NMGD1-CM1-WE-COP-G35D_TOT_MTD� | 0 | 100 | TBD | TBD | 60 | #N/A | #N/A
CEMENT | W | NMGD | 1 | MG01 | Cement Mill-1 | Mill | Counter | PV | Weight | total Production | Tons | G35_D_TOT_OPC | W-NMGD1-CM1-WE-COP-G35_D_TOT_OPC | 0 | 100 | TBD | TBD | 60 | opc.tcp://10.5.39.44:57888 | ns=3;s=SchneiderElectric.SCADA.OpcDaServer.1->testprojefct.G35_D_TOT_OPC
CEMENT | W | NMGD | 1 | MG01 | Cement Mill-1 | Mill | Main Equipment | Mode | Status | Run Status | state | G39_1_DC_Run | W-NMGD1-CM1-ST-SV-G39_1_DC_Run |  |  | TBD | TBD | 60 | opc.tcp://10.5.39.44:57888 | ns=3;s=SchneiderElectric.SCADA.OpcDaServer.1->testproject.G39_1_DC_Stx\Stat
CEMENT | W | NMGD | 1 | MG01 | Cement Mill-1 | Mill | Main Equipment | Mode | Status | Run Status | state | SV-G69_DCF_Run | W-NMGD1-CM1-ST-SV-G69_DCF_Run |  |  | TBD | TBD | 60 | opc.tcp://10.5.39.44:57888 | ns=3;s=SchneiderElectric.SCADA.OpcDaServer.1->testproject.G69_DCF_Stx\Stat
CEMENT | W | NMGD | 1 | MG01 | Cement Mill-1 | Mill | Main Equipment | Mode | Status | Run Status | state | G51_MILL_HT_Run | W-NMGD1-CM1-ST-SV-G51_MILL_HT_Run | 0 | 500 | TBD | TBD | 60 | opc.tcp://10.5.39.44:57888 | ns=3;s=SchneiderElectric.SCADA.OpcDaServer.1->testproject.G51_MILL_HT_Stx\Stat
CEMENT | W | NMGD | 1 | MG01 | Cement Mill-1 | Mill | Main Equipment | Mode | Status | Run Status | state | DOSING_P_Run | W-NMGD1-CM1-ST-SV-DOSING_P_Run | 0 | 500 | TBD | TBD | 60 | opc.tcp://10.5.39.44:57888 | ns=3;s=SchneiderElectric.SCADA.OpcDaServer.1->testproject.DOSING_P_Stx\Stat
CEMENT | W | NMGD | 1 | MG01 | Cement Mill-1 | Mill | Main Equipment | Mode | Status | Run Status | state | G11_BC_Run | W-NMGD1-CM1-ST-SV-G11_BC_Run |  |  | TBD | TBD | 60 | opc.tcp://10.5.39.44:57888 | ns=3;s=SchneiderElectric.SCADA.OpcDaServer.1->testproject.G11_BC_Stx\Stat
CEMENT | W | NMGD | 1 | MG01 | Cement Mill-1 | Mill | Main Equipment | PV | Current | Current | amp | G11_BC_AMP | W-NMGD1-CM1-I-COP-G11_BC_AMP |  |  | TBD | TBD | 60 | opc.tcp://10.5.39.44:57888 | ns=3;s=SchneiderElectric.SCADA.OpcDaServer.1->testproject.G11_BC_Amp