## DHCW_TagMaster
Business Unit | Cluster | Plant | Line | Plant SAP Code | Section | Equipment Group | Equipment Subtype | Variable Group | Variable Type | Standard Variable Description | Unit Of Measurement | Tag Name | Tag UID | Min | Max | LCL | UCL | Flat Line Length | OPC EndPOint | Path
CEMENT | N | DHCW | 2 | KC01 | Cooler | Boiler | Process Fan | SP | Position | ID Fan VFD Output | % | CL_472FNF_SP | N-DHCW2-CL2-SP-SP-CL_472FNF_SP |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:CL_472FNF_SP?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Rotary Air Lock | PV | Current | RAV for Hopper-1 Current | amp | W2_AQC_FG_015_MII_B | N-DHCW2-WH2-I-PV-W2_AQC_FG_015_MII_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_AQC_FG_015_MII_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Rotary Air Lock | PV | Power | RAV for Hopper-1 Power | kW | W2_AQC_FG_015_MJI_B | N-DHCW2-WH2-J-PV-W2_AQC_FG_015_MJI_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_AQC_FG_015_MJI_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Rotary Air Lock | PV | Current | RAV for Hopper-2 Current | amp | W2_AQC_FG_016_MII_B | N-DHCW2-WH2-I-PV-W2_AQC_FG_016_MII_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_AQC_FG_016_MII_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Rotary Air Lock | PV | Power | RAV for Hopper-2 Power | kW | W2_AQC_FG_016_MJI_B | N-DHCW2-WH2-J-PV-W2_AQC_FG_016_MJI_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_AQC_FG_016_MJI_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Rotary Air Lock | PV | Current | RAV for Hopper-3 Current | amp | W2_AQC_FG_017_MII_B | N-DHCW2-WH2-I-PV-W2_AQC_FG_017_MII_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_AQC_FG_017_MII_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Rotary Air Lock | PV | Power | RAV for Hopper-3 Power | kW | W2_AQC_FG_017_MJI_B | N-DHCW2-WH2-J-PV-W2_AQC_FG_017_MJI_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_AQC_FG_017_MJI_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Rotary Air Lock | PV | Current | RAV for Hopper-4 Current | amp | W2_AQC_FG_018_MII_B | N-DHCW2-WH2-I-PV-W2_AQC_FG_018_MII_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_AQC_FG_018_MII_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Rotary Air Lock | PV | Power | RAV for Hopper-4 Power | kW | W2_AQC_FG_018_MJI_B | N-DHCW2-WH2-J-PV-W2_AQC_FG_018_MJI_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_AQC_FG_018_MJI_B?Value
CEMENT | N | DHCW | 2 | KC01 | Cooler | CLR-Transport | Chain Conveyor | PV | Current | Motor For Chain Conveyor for WHRS Current | amp | CL_472CV5II_B | N-DHCW2-CL2-I-PV-CL_472CV5II_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:CL_472CV5II_B?Value
CEMENT | N | DHCW | 2 | KC01 | Cooler | CLR-Transport | Chain Conveyor | PV | Power | Motor For Chain Conveyor for WHRS Power | kW | CL_472CV5JI_B | N-DHCW2-CL2-J-PV-CL_472CV5JI_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:CL_472CV5JI_B?Value
CEMENT | N | DHCW | 2 | KC01 | PreHeater | PH-Fans | Process Fan | SP | Position | ID Fan VFD Output | % | PH_442FN1_SP | N-DHCW2-PH2-SP-SP-PH_442FN1_SP |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:PH_442FN1_SP?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Motor | PV | Current | Hammer Device Motor-1 Current | amp | W2_PH_FG_111_MII_B | N-DHCW2-WH2-I-PV-W2_PH_FG_111_MII_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_PH_FG_111_MII_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Motor | PV | Power | Hammer Device Motor-1 Power | kW | W2_PH_FG_111_MJI_B | N-DHCW2-WH2-J-PV-W2_PH_FG_111_MJI_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_PH_FG_111_MJI_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Motor | PV | Current | Hammer Device Motor-2 Current | amp | W2_PH_FG_112_MII_B | N-DHCW2-WH2-I-PV-W2_PH_FG_112_MII_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_PH_FG_112_MII_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Motor | PV | Power | Hammer Device Motor-2 Power | kW | W2_PH_FG_112_MJI_B | N-DHCW2-WH2-J-PV-W2_PH_FG_112_MJI_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_PH_FG_112_MJI_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Motor | PV | Current | Hammer Device Motor-3 Current | amp | W2_PH_FG_113_MII_B | N-DHCW2-WH2-I-PV-W2_PH_FG_113_MII_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_PH_FG_113_MII_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Motor | PV | Power | Hammer Device Motor-3 Power | kW | W2_PH_FG_113_MJI_B | N-DHCW2-WH2-J-PV-W2_PH_FG_113_MJI_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_PH_FG_113_MJI_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Motor | PV | Current | Hammer Device Motor-4 Current | amp | W2_PH_FG_114_MII_B | N-DHCW2-WH2-I-PV-W2_PH_FG_114_MII_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_PH_FG_114_MII_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Motor | PV | Power | Hammer Device Motor-4 Power | kW | W2_PH_FG_114_MJI_B | N-DHCW2-WH2-J-PV-W2_PH_FG_114_MJI_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_PH_FG_114_MJI_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Motor | PV | Current | Hammer Device Motor-5 Current | amp | W2_PH_FG_115_MII_B | N-DHCW2-WH2-I-PV-W2_PH_FG_115_MII_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_PH_FG_115_MII_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Motor | PV | Power | Hammer Device Motor-5 Power | kW | W2_PH_FG_115_MJI_B | N-DHCW2-WH2-J-PV-W2_PH_FG_115_MJI_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_PH_FG_115_MJI_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Motor | PV | Current | Hammer Device Motor-6 Current | amp | W2_PH_FG_116_MII_B | N-DHCW2-WH2-I-PV-W2_PH_FG_116_MII_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_PH_FG_116_MII_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Motor | PV | Power | Hammer Device Motor-6 Power | kW | W2_PH_FG_116_MJI_B | N-DHCW2-WH2-J-PV-W2_PH_FG_116_MJI_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_PH_FG_116_MJI_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Motor | PV | Current | Hammer Device Motor-7 Current | amp | W2_PH_FG_117_MII_B | N-DHCW2-WH2-I-PV-W2_PH_FG_117_MII_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_PH_FG_117_MII_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Motor | PV | Power | Hammer Device Motor-7 Power | kW | W2_PH_FG_117_MJI_B | N-DHCW2-WH2-J-PV-W2_PH_FG_117_MJI_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_PH_FG_117_MJI_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Motor | PV | Current | Hammer Device Motor-8 Current | amp | W2_PH_FG_118_MII_B | N-DHCW2-WH2-I-PV-W2_PH_FG_118_MII_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_PH_FG_118_MII_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Motor | PV | Power | Hammer Device Motor-8 Power | kW | W2_PH_FG_118_MJI_B | N-DHCW2-WH2-J-PV-W2_PH_FG_118_MJI_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_PH_FG_118_MJI_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Motor | PV | Current | Hammer Device Motor-9 Current | amp | W2_PH_FG_119_MII_B | N-DHCW2-WH2-I-PV-W2_PH_FG_119_MII_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_PH_FG_119_MII_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Motor | PV | Power | Hammer Device Motor-9 Power | kW | W2_PH_FG_119_MJI_B | N-DHCW2-WH2-J-PV-W2_PH_FG_119_MJI_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_PH_FG_119_MJI_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Motor | PV | Current | Hammer Device Motor-10 Current | amp | W2_PH_FG_120_MII_B | N-DHCW2-WH2-I-PV-W2_PH_FG_120_MII_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_PH_FG_120_MII_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Motor | PV | Power | Hammer Device Motor-10 Power | kW | W2_PH_FG_120_MJI_B | N-DHCW2-WH2-J-PV-W2_PH_FG_120_MJI_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_PH_FG_120_MJI_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Motor | PV | Current | Hammer Device Motor-11 Current | amp | W2_PH_FG_121_MII_B | N-DHCW2-WH2-I-PV-W2_PH_FG_121_MII_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_PH_FG_121_MII_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Motor | PV | Power | Hammer Device Motor-11 Power | kW | W2_PH_FG_121_MJI_B | N-DHCW2-WH2-J-PV-W2_PH_FG_121_MJI_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_PH_FG_121_MJI_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Motor | PV | Current | Hammer Device Motor-12 Current | amp | W2_PH_FG_122_MII_B | N-DHCW2-WH2-I-PV-W2_PH_FG_122_MII_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_PH_FG_122_MII_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Motor | PV | Power | Hammer Device Motor-12 Power | kW | W2_PH_FG_122_MJI_B | N-DHCW2-WH2-J-PV-W2_PH_FG_122_MJI_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_PH_FG_122_MJI_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Motor | PV | Current | Hammer Device Motor-13 Current | amp | W2_PH_FG_123_MII_B | N-DHCW2-WH2-I-PV-W2_PH_FG_123_MII_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_PH_FG_123_MII_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Motor | PV | Power | Hammer Device Motor-13 Power | kW | W2_PH_FG_123_MJI_B | N-DHCW2-WH2-J-PV-W2_PH_FG_123_MJI_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_PH_FG_123_MJI_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Motor | PV | Current | Hammer Device Motor-14 Current | amp | W2_PH_FG_124_MII_B | N-DHCW2-WH2-I-PV-W2_PH_FG_124_MII_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_PH_FG_124_MII_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Motor | PV | Power | Hammer Device Motor-14 Power | kW | W2_PH_FG_124_MJI_B | N-DHCW2-WH2-J-PV-W2_PH_FG_124_MJI_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_PH_FG_124_MJI_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Motor | PV | Current | Hammer Device Motor-15 Current | amp | W2_PH_FG_125_MII_B | N-DHCW2-WH2-I-PV-W2_PH_FG_125_MII_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_PH_FG_125_MII_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Motor | PV | Power | Hammer Device Motor-15 Power | kW | W2_PH_FG_125_MJI_B | N-DHCW2-WH2-J-PV-W2_PH_FG_125_MJI_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_PH_FG_125_MJI_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Motor | PV | Current | Hammer Device Motor-16 Current | amp | W2_PH_FG_126_MII_B | N-DHCW2-WH2-I-PV-W2_PH_FG_126_MII_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_PH_FG_126_MII_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Motor | PV | Power | Hammer Device Motor-16 Power | kW | W2_PH_FG_126_MJI_B | N-DHCW2-WH2-J-PV-W2_PH_FG_126_MJI_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_PH_FG_126_MJI_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Motor | PV | Current | Hammer Device Motor-17 Current | amp | W2_PH_FG_127_MII_B | N-DHCW2-WH2-I-PV-W2_PH_FG_127_MII_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_PH_FG_127_MII_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Motor | PV | Power | Hammer Device Motor-17 Power | kW | W2_PH_FG_127_MJI_B | N-DHCW2-WH2-J-PV-W2_PH_FG_127_MJI_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_PH_FG_127_MJI_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Motor | PV | Current | Hammer Device Motor-18 Current | amp | W2_PH_FG_128_MII_B | N-DHCW2-WH2-I-PV-W2_PH_FG_128_MII_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_PH_FG_128_MII_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Motor | PV | Power | Hammer Device Motor-18 Power | kW | W2_PH_FG_128_MJI_B | N-DHCW2-WH2-J-PV-W2_PH_FG_128_MJI_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_PH_FG_128_MJI_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Motor | PV | Current | Hammer Device Motor-19 Current | amp | W2_PH_FG_129_MII_B | N-DHCW2-WH2-I-PV-W2_PH_FG_129_MII_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_PH_FG_129_MII_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Motor | PV | Power | Hammer Device Motor-19 Power | kW | W2_PH_FG_129_MJI_B | N-DHCW2-WH2-J-PV-W2_PH_FG_129_MJI_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_PH_FG_129_MJI_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Motor | PV | Current | Hammer Device Motor-20 Current | amp | W2_PH_FG_130_MII_B | N-DHCW2-WH2-I-PV-W2_PH_FG_130_MII_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_PH_FG_130_MII_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Motor | PV | Power | Hammer Device Motor-20 Power | kW | W2_PH_FG_130_MJI_B | N-DHCW2-WH2-J-PV-W2_PH_FG_130_MJI_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_PH_FG_130_MJI_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Motor | PV | Current | Hammer Device Motor-21 Current | amp | W2_PH_FG_131_MII_B | N-DHCW2-WH2-I-PV-W2_PH_FG_131_MII_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_PH_FG_131_MII_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Motor | PV | Power | Hammer Device Motor-21 Power | kW | W2_PH_FG_131_MJI_B | N-DHCW2-WH2-J-PV-W2_PH_FG_131_MJI_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_PH_FG_131_MJI_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Motor | PV | Current | Hammer Device Motor-22 Current | amp | W2_PH_FG_132_MII_B | N-DHCW2-WH2-I-PV-W2_PH_FG_132_MII_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_PH_FG_132_MII_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Motor | PV | Power | Hammer Device Motor-22 Power | kW | W2_PH_FG_132_MJI_B | N-DHCW2-WH2-J-PV-W2_PH_FG_132_MJI_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_PH_FG_132_MJI_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Motor | PV | Current | Hammer Device Motor-23 Current | amp | W2_PH_FG_133_MII_B | N-DHCW2-WH2-I-PV-W2_PH_FG_133_MII_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_PH_FG_133_MII_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Motor | PV | Power | Hammer Device Motor-23 Power | kW | W2_PH_FG_133_MJI_B | N-DHCW2-WH2-J-PV-W2_PH_FG_133_MJI_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_PH_FG_133_MJI_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Motor | PV | Current | Hammer Device Motor-24 Current | amp | W2_PH_FG_134_MII_B | N-DHCW2-WH2-I-PV-W2_PH_FG_134_MII_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_PH_FG_134_MII_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | Boiler | Motor | PV | Power | Hammer Device Motor-24 Power | kW | W2_PH_FG_134_MJI_B | N-DHCW2-WH2-J-PV-W2_PH_FG_134_MJI_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_PH_FG_134_MJI_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | WH-Regulators | Rotary Air Lock | PV | Current | RAV for Hopper-1 Current | amp | W2_PH_FG_701_MII_B | N-DHCW2-WH2-I-PV-W2_PH_FG_701_MII_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_PH_FG_701_MII_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | WH-Regulators | Rotary Air Lock | PV | Power | RAV for Hopper-1 Power | kW | W2_PH_FG_701_MJI_B | N-DHCW2-WH2-J-PV-W2_PH_FG_701_MJI_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_PH_FG_701_MJI_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | WH-Regulators | Rotary Air Lock | PV | Current | RAV for Hopper-2 Current | amp | W2_PH_FG_702_MII_B | N-DHCW2-WH2-I-PV-W2_PH_FG_702_MII_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_PH_FG_702_MII_B?Value
CEMENT | N | DHCW | 2 | KC01 | WHRS | WH-Regulators | Rotary Air Lock | PV | Power | RAV for Hopper-2 Power | kW | W2_PH_FG_702_MJI_B | N-DHCW2-WH2-J-PV-W2_PH_FG_702_MJI_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:W2_PH_FG_702_MJI_B?Value
CEMENT | N | DHCW | 2 | KC01 | PreHeater | PH-Transport | Chain Conveyor | PV | Current | Motor For Chain Conveyor for WHRS Current | amp | PH_442CV1II_B | N-DHCW2-PH2-I-PV-PH_442CV1II_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:PH_442CV1II_B?Value
CEMENT | N | DHCW | 2 | KC01 | PreHeater | PH-Transport | Chain Conveyor | PV | Power | Motor For Chain Conveyor for WHRS Power | kW | PH_442CV1JI_B | N-DHCW2-PH2-J-PV-PH_442CV1JI_B |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:PH_442CV1JI_B?Value
CEMENT | N | DHCW | 2 | KC01 | Raw Mill-1 | Mill | Others | PV | Flow | Mill Feed TPH | TPH | RM1_MILL_FEED_PVAVG | N-DHCW2-RM1-F-PV-RM1_MILL_FEED_PVAVG |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:RM1_MILL_FEED_PVAVG?Value
CEMENT | N | DHCW | 2 | KC01 | Raw Mill-1 | Mill | Others | PV | Power | Mill MD Kw ��� | kW | RM1_MILL_LOAD_PVAVG | N-DHCW2-RM1-J-PV-RM1_MILL_LOAD_PVAVG |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:RM1_MILL_LOAD_PVAVG?Value
CEMENT | N | DHCW | 2 | KC01 | Raw Mill-1 | Mill | Control System | Mode | Status | MCX Ready Signal | state | RM1_MCX_READY | N-DHCW2-RM1-ST-SV-RM1_MCX_READY |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:RM1_MCX_READY?Value
CEMENT | N | DHCW | 2 | KC01 | Raw Mill-1 | Mill | Control System | Mode | Status | MCX ON Signal | state | RM1_MCX_ON_SEL | N-DHCW2-RM1-ST-SV-RM1_MCX_ON_SEL |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:RM1_MCX_ON_SEL?Value
CEMENT | N | DHCW | 2 | KC01 | Raw Mill-1 | Mill | Control System | PV | Index | MCX Utilisation | % | RM1_MCX_UTILISATION | N-DHCW2-RM1-O-PV-RM1_MCX_UTILISATION |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:RM1_MCX_UTILISATION?Value
CEMENT | N | DHCW | 2 | KC01 | Cement Mill-1 | Mill | Others | PV | Flow | Mill Feed TPH | TPH | CM_MILL_FEED_PVAVG | N-DHCW2-CM1-F-PV-CM_MILL_FEED_PVAVG |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:CM_MILL_FEED_PVAVG?Value
CEMENT | N | DHCW | 2 | KC01 | Cement Mill-1 | Mill | Others | PV | Power | Mill MD Kw ��� | kW | CM_MILL_LOAD_PVAVG | N-DHCW2-CM1-J-PV-CM_MILL_LOAD_PVAVG |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:CM_MILL_LOAD_PVAVG?Value
CEMENT | N | DHCW | 2 | KC01 | Cement Mill-1 | Mill | Control System | Mode | Status | MCX Ready Signal | state | CM_MCX_READY | N-DHCW2-CM1-ST-SV-CM_MCX_READY |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:CM_MCX_READY?Value
CEMENT | N | DHCW | 2 | KC01 | Cement Mill-1 | Mill | Control System | Mode | Status | MCX ON Signal | state | CM_MCX_ON_SEL | N-DHCW2-CM1-ST-SV-CM_MCX_ON_SEL |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:CM_MCX_ON_SEL?Value
CEMENT | N | DHCW | 2 | KC01 | Cement Mill-1 | Mill | Control System | PV | Index | MCX Utilisation | % | CM_MCX_UTILISATION | N-DHCW2-CM1-O-PV-CM_MCX_UTILISATION |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:CM_MCX_UTILISATION?Value
CEMENT | N | DHCW | 2 | KC01 | Coal Mill | Mill | Others | PV | Flow | Mill Feed TPH | TPH | CO_MILL_FEED_PVAVG | N-DHCW2-KM1-F-PV-CO_MILL_FEED_PVAVG |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:CO_MILL_FEED_PVAVG?Value
CEMENT | N | DHCW | 2 | KC01 | Coal Mill | Mill | Others | PV | Power | Mill MD Kw ��� | kW | CO_MILL_LOAD_PVAVG | N-DHCW2-KM1-J-PV-CO_MILL_LOAD_PVAVG |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:CO_MILL_LOAD_PVAVG?Value
CEMENT | N | DHCW | 2 | KC01 | Coal Mill | Mill | Control System | Mode | Status | MCX Ready Signal | state | CO_MCX_READY | N-DHCW2-KM1-ST-SV-CO_MCX_READY |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:CO_MCX_READY?Value
CEMENT | N | DHCW | 2 | KC01 | Coal Mill | Mill | Control System | Mode | Status | MCX ON Signal | state | CO_MCX_ON_SEL | N-DHCW2-KM1-ST-SV-CO_MCX_ON_SEL |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:CO_MCX_ON_SEL?Value
CEMENT | N | DHCW | 2 | KC01 | Coal Mill | Mill | Control System | PV | Index | MCX Utilisation | % | CO_MCX_UTILISATION | N-DHCW2-KM1-O-PV-CO_MCX_UTILISATION |  |  |  |  | 60 | opc.tcp://10.5.14.44:26080/ | ns=2;s=1:CO_MCX_UTILISATION?Value