## KCW_TagMaster
Business Unit | Cluster | Plant | Line | Plant SAP Code | Section | Equipment Group | Equipment Subtype | Variable Group | Variable Type | Standard Variable Description | Unit Of Measurement | Tag Name | Tag UID | Min | Max | LCL | UCL | Flat Line Length | OPC EndPOint | Path
CEMENT | N | KCW | 2 | GK01 | Cement Mill | Mill | Others | Mode | Status | Not Defined | state | CMH_K23CG1_ECLS | CMH_K23CG1_ECLS |  |  |  |  | 60 | opc.tcp://10.5.18.46:48031/plantscada | ns=3;s=0:Cluster_2.CMH_K23CG1_ECLS_Stx\Stat.valid
CEMENT | N | KCW | 2 | GK01 | Cement Mill | Mill | Others | Mode | Status | Not Defined | state | CMH_K23CG1_EOLS | CMH_K23CG1_EOLS |  |  |  |  | 60 | opc.tcp://10.5.18.46:48031/plantscada | ns=3;s=0:Cluster_2.CMH_K23CG1_EOLS_Stx\Stat.valid
CEMENT | N | KCW | 2 | GK01 | Cement Mill | Mill | Others | Mode | Status | Not Defined | state | CMH_K23CG2_ECLS | CMH_K23CG2_ECLS |  |  |  |  | 60 | opc.tcp://10.5.18.46:48031/plantscada | ns=3;s=0:Cluster_2.CMH_K23CG2_ECLS_Stx\Stat.valid
CEMENT | N | KCW | 2 | GK01 | Cement Mill | Mill | Others | Mode | Status | Not Defined | state | CMH_K23CG2_EOLS | CMH_K23CG2_EOLS |  |  |  |  | 60 | opc.tcp://10.5.18.46:48031/plantscada | ns=3;s=0:Cluster_2.CMH_K23CG2_EOLS_Stx\Stat.valid
CEMENT | N | KCW | 2 | GK01 | Cement Mill | Mill | Others | Mode | Status | Not Defined | state | CMH_K23CG3_ECLS | CMH_K23CG3_ECLS |  |  |  |  | 60 | opc.tcp://10.5.18.46:48031/plantscada | ns=3;s=0:Cluster_2.CMH_K23CG3_ECLS_Stx\Stat.valid
CEMENT | N | KCW | 2 | GK01 | Cement Mill | Mill | Others | Mode | Status | Not Defined | state | CMH_K23CG3_EOLS | CMH_K23CG3_EOLS |  |  |  |  | 60 | opc.tcp://10.5.18.46:48031/plantscada | ns=3;s=0:Cluster_2.CMH_K23CG3_EOLS_Stx\Stat.valid
CEMENT | N | KCW | 2 | GK01 | Cement Mill | Mill | Others | Mode | Status | Not Defined | state | CMH_K23CG4_ECLS | CMH_K23CG4_ECLS |  |  |  |  | 60 | opc.tcp://10.5.18.46:48031/plantscada | ns=3;s=0:Cluster_2.CMH_K23CG4_ECLS_Stx\Stat.valid
CEMENT | N | KCW | 2 | GK01 | Cement Mill | Mill | Others | Mode | Status | Not Defined | state | CMH_K23CG4_EOLS | CMH_K23CG4_EOLS |  |  |  |  | 60 | opc.tcp://10.5.18.46:48031/plantscada | ns=3;s=0:Cluster_2.CMH_K23CG4_EOLS_Stx\Stat.valid
CEMENT | N | KCW | 2 | GK01 | WHRS | Boiler | Boiler | PV | Temperature | AQC BOILER INLET PDC-1 FLG TEMP | Deg C | WHRS_CL_AQC_IL | N-KCW2-WH1-T-PV-WHRS_CL_AQC_IL |  |  |  |  | 60 | opc.tcp://10.5.18.46:48031/plantscada | ns=3;s=0:Cluster_1.WHRS_CL_AQC_IL_Stx\APV.valid
CEMENT | N | KCW | 2 | GK01 | WHRS | Boiler | Boiler | PV | Temperature | AQC BOILER MIDTAP-1 FLG TEMP | Deg C | WHRS_CL_MIDTAP1 | N-KCW2-WH1-T-PV-WHRS_CL_MIDTAP1 |  |  |  |  | 60 | opc.tcp://10.5.18.46:48031/plantscada | ns=3;s=0:Cluster_1.WHRS_CL_MIDTAP1_Stx\APV.valid
CEMENT | N | KCW | 2 | GK01 | WHRS | Boiler | Boiler | PV | Pressure | WHRS AQC BOILER DP | mmWC | WHRS_CL_AQC_DP | N-KCW2-WH1-P-PV-WHRS_CL_AQC_DP |  |  |  |  | 60 | opc.tcp://10.5.18.46:48031/plantscada | ns=3;s=0:Cluster_1.WHRS_CL_AQC_DP_Stx\APV.valid
CEMENT | N | KCW | 2 | GK01 | Cooler | Cooler | Others | PV | Temperature | HAR Temp Fan #1 | Deg C | CL_472DU01_TT1 | N-KCW2-CL1-T-PV-CL_472DU01_TT1 |  |  |  |  | 60 | opc.tcp://10.5.18.46:48031/plantscada | ns=3;s=0:Cluster_1.CL_472DU01_TT1_Stx\APV.valid
CEMENT | N | KCW | 2 | GK01 | Cooler | Cooler | Others | PV | Temperature | HAR Temp Fan #2 | Deg C | CL_472DU02_TT1 | N-KCW2-CL1-T-PV-CL_472DU02_TT1 |  |  |  |  | 60 | opc.tcp://10.5.18.46:48031/plantscada | ns=3;s=0:Cluster_1.CL_472DU02_TT1_Stx\APV.valid
CEMENT | N | KCW | 2 | GK01 | Cooler | CLR-Pollution Control | ESP | PV | Power | ESP ID Fan Power | kW | CL_472FNF_M01_SCS_Stx\Eth_Kw | N-KCW2-CL1-J-PV-CL_472FNF_M01_SCS_Stx\Eth_Kw |  |  |  |  | 60 | opc.tcp://10.5.18.46:48031/plantscada | ns=3;s=0:Cluster_1.CL_472FNF_M01_SCS_Stx\Eth_Kw_Stx\APV.valid
CEMENT | N | KCW | 2 | GK01 | Cooler | Cooler | Fan | PV | Flow | Total Cooler Air Flow | Nm3/hr | CL_COOLER_FAN_TOTAL | N-KCW2-CL1-F-PV-CL_COOLER_FAN_TOTAL |  |  |  |  | 60 | opc.tcp://10.5.18.46:48031/plantscada | ns=3;s=0:Cluster_1.CL_COOLER_FAN_TOTAL_Stx\APV.valid
CEMENT | N | KCW | 2 | GK01 | Cooler | Cooler | Others | PV | Other | Total specific cooling air | Other | CL2_SP_POWER_AVG | N-KCW2-CL1-O-PV-CL2_SP_POWER_AVG |  |  |  |  | 60 | opc.tcp://10.5.18.46:48031/plantscada | ns=3;s=0:Cluster_1.CL2_SP_POWER_AVG_Stx\APV.valid
CEMENT | N | KCW | 2 | GK01 | Kiln | Kiln | Main Drive | PV | Time | Kiln Running Hrs | Hr | KL_462MD1_2_RUN_TD | N-KCW2-KL1-TI-PV-KL_462MD1_2_RUN_TD |  |  |  |  | 60 | opc.tcp://10.5.18.46:48031/plantscada | ns=3;s=0:Cluster_1.KL_462MD1_2_RUN_TD_Stx\APV.valid
CEMENT | N | KCW | 2 | GK01 | Cooler | Cooler | Grate | PV | Speed | Cooler grate speed/stroke | SPM | DB16_DBW18_Stx.APV | N-KCW2-CL1-R-PV-DB16_DBW18_Stx.APV |  |  |  |  | 60 | opc.tcp://10.5.18.46:48031/plantscada | ns=3;s=0:Cluster_1.DB16_DBW18_Stx.APV_Stx\APV.valid
CEMENT | N | KCW | 2 | GK01 | Cooler | Cooler | Grate | PV | Pressure | Clinker cooler Bed hieght | mmWC | CLINKER_BED_HEIGHT | N-KCW2-CL1-P-PV-CLINKER_BED_HEIGHT |  |  |  |  | 60 | opc.tcp://10.5.18.46:48031/plantscada | ns=3;s=0:Cluster_1.CLINKER_BED_HEIGHT_Stx\APV.valid
CEMENT | N | KCW | 2 | GK01 | WHRS | Boiler | Duct | PV | Temperature | COOLER MIDTAP2 TEMP | Deg C | WHRS_CL_MIDTAP2 | N-KCW2-WH1-T-PV-WHRS_CL_MIDTAP2 |  |  |  |  | 60 | opc.tcp://10.5.18.46:48031/plantscada | ns=3;s=0:Cluster_1.WHRS_CL_MIDTAP2_Stx\APV.valid
CEMENT | N | KCW | 2 | GK01 | Kiln | Kiln | Others | PV | Other | Heat Consumption | kCal/kg | SHC_INPUT | N-KCW2-KL1-O-PV-SHC_INPUT |  |  |  |  | 60 | opc.tcp://10.5.18.46:48031/plantscada | ns=3;s=0:Cluster_1.SHC_INPUT_Stx\APV.valid
CEMENT | N | KCW | 2 | GK01 | WHRS | Boiler | Boiler | PV | Pressure | DP across Boiler | mmWC | W2_PH_CAL_DP | N-KCW2-WH1-P-PV-W2_PH_CAL_DP |  |  |  |  | 60 | opc.tcp://10.5.18.46:48031/plantscada | ns=3;s=0:Cluster_1.W2_PH_CAL_DP_Stx\APV.valid
CEMENT | N | KCW | 2 | GK01 | WHRS | WH-Regulators | Damper | PV | Position | B/P Damper Opening | % | PAC3_TO_PAC10_AI3 | N-KCW2-WH1-S-PV-PAC3_TO_PAC10_AI3 |  |  |  |  | 60 | opc.tcp://10.5.18.46:48031/plantscada | ns=3;s=0:Cluster_1.PAC3_TO_PAC10_AI3_Stx\APV.valid
CEMENT | N | KCW | 2 | GK01 | WHRS | Boiler | Deaerator | PV | Flow | Ejector /Deaerator Steam | TPH | W2_MAS_1403_FLOW | N-KCW2-WH1-F-PV-W2_MAS_1403_FLOW |  |  |  |  | 60 | opc.tcp://10.5.18.46:48031/plantscada | ns=3;s=0:Cluster_1.W2_MAS_1403_FLOW_Stx\PV.valid
CEMENT | N | KCW | 2 | GK01 | Coal Mill | KM-Drives | Main Drive | PV | Status | COAL MILL MAIN DRIVE | state | KM_L42MD1 | N-KCW2-KM2-ST-PV-KM_L42MD1 |  |  |  |  | 60 | opc.tcp://10.5.18.46:48031/plantscada | ns=3;s=0:Cluster_2.KM_L42MD1_Stx\Stat.valid
CEMENT | N | KCW | 2 | GK01 | Raw Mill-2 | RM-Drives | Main Drive | PV | Status | RM MAIN DRIVE | state | RM_362MD1 | N-KCW2-RM2-ST-PV-RM_362MD1 |  |  |  |  | 60 | opc.tcp://10.5.18.46:48031/plantscada | ns=3;s=0:Cluster_1.RM_362MD1_Stx\Stat.valid
CEMENT | N | KCW | 2 | GK01 | Coal Mill | KM-Feeding | Weigh Feeder | PV | Flow | KM Total Feed | TPH | KM_TOTAL_FEED | N-KCW2-KM2-F-PV-KM_TOTAL_FEED |  |  |  |  | 60 | opc.tcp://10.5.18.46:48031/plantscada | ns=3;s=0:Cluster_1.KM_TOTAL_FEED_Stx\APV.valid